## Instructions to Bidders
Request for Proposal:
Ref: RFP # 05142024_Remote Patient Monitoring (RPM) Solution_UCDH
Exhibit B - Requirements & Response Template
Instructions to Bidders
1 | Bidders must complete and submit each of the tabs referenced below.
2 | This form must be returned to UC Davis Health (UCDH) in native .xlsx (Excel) format.
3 | The format of this template must not be altered or changed in any way.
4 | Bidders are responsible for ensuring that each and every field between Tab A (Vendor Qualifications), and Tab E (Support) is completed with a response.
5 | UCDH reserves the right to reject incomplete responses.
7 | Bidders should be brief and succinct in their responses to each of the requirements.
Tab A | Vendor Qualifications | Bidders must indicate their level of compliance on all fields
Tab B | References | Bidders must provide three (3) references of a similar profile to UC Davis Health's requirements
Tab C | Technical Requirements | Bidders must indicate their level of compliance on all fields
Tab D | Prof Services-Implementation | Bidders must indicate their level of compliance on all fields
Tab E | Support | Bidders must indicate their level of compliance on all fields
This Exhibit C, once completed, should be returned to UC Davis Health in native .xlsx format.

## A_Vendor Qualifications
Tab A: Vendor Qualifications (Business and Experience)
Instructions: Please provide a response to each comment listed. UC Davis Health believes that the prospective Bidder's previous experience, financial capability, expertise of personnel, and related factors are important in assessing the Bidder's potential to successfully fulfill the qualifications defined herein. Lack of comments to any items listed may render the Bidder's proposal as non-responsive.
Tab | Item No. | Item |  | Comments
A | 1 | Company Information
A | 1.01 | What is the official Company Name and DBA (if applicable)?
A | 1.02 | What is the official Company Name used on W9?
A | 1.03 | What type of Business?
A | 1.04 | What is the Principle Address of the Business?
A | 1.05 | What is the Company Phone Number
A | 1.06 | What is the Company Website Address
A | 1.07 | What is the Tax Identification Number (TIN)
A | 1.08 | Do you have a Dun & Bradstreet Number? If yes, what is that number.
A | 1.09 | What is the Length of time in business?
A | 1.1 | What is the total number of clients?
A | 1.11 | Company Contact Name: Telephone: Email:
A | 1.12 | Size of your organization (number of employees)
A | 1.13 | Is your company a certified Small Business (SB), Microbusiness (MB) or Disabled Veteran Business Enterprise (DVBE)? Provide copy of the certificate.
A | 1.14 | Provide a brief overview of your company, including but not limited to, ownership structure, number of years in business, vision, and line of products.
A | 1.15 | Specify regions that company operates in (ex. local, regional, national, or international.)
A | 1.16 | Number of field service/sales representatives/engineers in northern California
A | 2 | General Services
A | 2.01 | Provide your company's service philosophy and approach.
A | 2.02 | How do you measure client satisfaction? Provide examples of tangible changes that have been implemented as a direct result of client feedback. Please furnish a copy of your company’s service standards.
A | 2.03 | Has your company, software development, or hardware ever been subjected to product litigation? Please explain.
A | 2.04 | What separates and distinguishes your company from your competitors?
A | 2.05 | What are the greatest benefits that your organization brings to UCDH regarding the products and services outlined in this RFP?
A | 2.06 | How long has your company provided RPM solutions in the US?
A | 2.07 | What is the total number of hospitals/clients your company provides RPM solutions for in US?
A | 2.08 | Please identify any awards/recognitions that your company has been honored with or you feel apply to this selection process.
A | 2.09 | What amount or percent of your budget is dedicated to research and development?
A | 2.1 | How does your company support client growth? Please comment on your RPM product's ability to adapt to strategic initiatives of varying departments and service lines.
A | 2.11 | Does your solution support white labeling the products?
A | 2.12 | Does your marketing team help us promote the program?
A | 2.13 | Does your standard pricing include unlimited utilization (users, surveys, alerts, questions, reports, dashboards)?
A | 2.14 | Do you have a standard agreement term?
A | 3 | Financial Stability
A | 3.01 | Provide a report of the Bidder’s financial status, including the most recently audited financial statements and profit and loss statements or equivalent evidence of financial stability and include auditor's opinion.
A | 3.02 | Provide a statement of the total dollar amount of work performed by Bidder for the University of California in the past twelve (12) months and specify the campus(es) served. The contract will not be awarded to any Bidder that has failed to perform in a satisfactory or faithful manner on any previous contract or purchase order with the University of California.
A | 3.03 | Identify by name and University position any University officer, faculty member or other employee who holds a position of director, officer, partner, trustee, manager or employee in the Bidder’s company, as well as the name of any near relatives who are employed by the University.
A | 3.04 | What is your 5-year client retention rate?
A | 4 | UC Terms and Conditions Acceptance | Response Code: 3-Accept As IS 2- Accept with Minor Changes 1-Accept with Major Changes 0 - Do not accept | UCDH prefers no changes to UCDH Terms and Conditions. If changes are needed please describe the changes and reason for the request. All Attachments must be numbered and referenced in the Response Column.
A | 4.01 | Do you accept UC Davis Health Professional Services Purchase Agreement-(Exhibit A)
A | 4.02 | Do you accept UC Terms and Conditions of Purchase - (Appendix A)
A | 4.03 | Do you accept Appendix – HIPAA Business Associate – (Appendix B)
A | 4.04 | Do you accept Appendix – Data Security and Privacy – (Appendix C)

## B_References
Tab B: References
Instructions: The Bidder shall submit references information with similar requirements to UCD Health. Include as many references as needed to demonstrate the Bidder's ability to successfully fulfill the elements.
Tab | Item No. | INFORMATION REQUESTED | REFERENCE #1 | REFERENCE #2 | REFERENCE #3
B | 1 | Customer Information
B | 1.01 | Customer name
B | 1.02 | Street address
B | 1.03 | City/State/Zip Code
B | 1.04 | Contact name/title
B | 1.05 | Contact telephone number
B | 1.06 | Contact Email address
B | 1.07 | Summary of project
B | 1.08 | State Modules purchased (or other scope-of- solution information)
B | 1.09 | State [describe] volume managed by the solution (or similar metric)
B | 1.1 | Date system implementation started
B | 1.11 | Date system was approved for production
B | 1.12 | Approximate contract value
B | 2 | Implementation Information | Respond Yes or No | Respond Yes or No | Respond Yes or No
B | 2.1 | Is the Customer a health system or educational system similar to UCDH?
B | 2.2 | Was your solution intergarated with Epic at this location?

## C_Technical Requirements
Tab C: Technical Requirements
Instructions: The Bidder must: 1. Specify the Attachment Title in Column E for supporting attachments, if any, 2. Specify a "Response Code" value 0, 1, 2, or 3 in Column F, 3. In the "Comments" Column G describe how you would meet each requirement (provide the description/detailed answer/explain non-compliance/describe alternative solution), Omission of any required information may render the Bidder's proposal non-responsive.
Tab | Item No. | Item | Attachment Title | Response Code 3=Meet Requirement/Out of the box, 2=Have with configuration, 1=Have with customization, 0=Do not have/can't fulfill | Comments
C | 1 | Section 1: Logistics
C | 1.01 | What is the largest number of devices that you have deployed at a single customer in a single year? What is the largest number of devices you have deployed at a single Tertiary/Quaternary Health System in a year (if different)?
C | 1.02 | Do you provide kit logistics (kit set up, shipping, return, cleaning)? (Please describe)
C | 1.03 | Can you provide next day shipping for orders placed before 11am? (Please describe)
C | 1.04 | Can the kits be provisioned in the hospital? (Please describe)
C | 1.05 | Do you provide technical support for patients and providers? (Please describe) - - What hours are provided?
C | 1.06 | Can you provide multiple RPM solution types?
C | 1.07 | Can you provide an all-inclusive solution (kits, software, logistics, monitoring)?
C | 1.08 | Can you provide a solution that has kit logistics only?
C | 1.09 | Can you provide a software/analytics only solution for programs where the devices were already prescribed/provided?
C | 1.1 | Describe the patient onboarding experience.
C | 1.11 | Describe the technical support available for both patients and providers.
C | 1.12 | Are all support staff (clinical, logistical, and technical) based in the US?
C | 1.13 | Are any patient education videos that can be shown to the patient for onboarding?
C | 1.14 | Please describe the accessibility features available for people with limited hearing, vision, mobility, and limited English proficiency.
C | 1.15 | How many days does the device last? How often does it need to be replaced on the patient?
C | 2 | Section 2: Clinical Support
C | 2.01 | Do you offer a clinical call center for first line of triage? (Please describe)
C | 2.01a | Who staffs your clinical call center? (RNs, MDs, LVNs, etc.)
C | 2.01b | - What hours are provided?
C | 2.01c | - How do you confirm quality control for the clinicians?
C | 2.01d | -What states are you licensed to provide support in?
C | 2.02 | Does the device have the capability to send proactive alerts to the patient's caregiver through Epic?
C | 2.03 | Describe what the clinical escalation process looks like.
C | 2.04 | How do call center nurses document their interactions with patients and can we get that data?
C | 2.05 | What is your RN/patient ratio?
C | 2.06 | Do you provide additional at home clinical and wrap around services? (Describe)
C | 2.07 | What kind of services? Describe partnership capabilities Nursing In-home Infusion Phlebotomy Imaging DME Wound Care Medical Waste Pharmacy
C | 2.08 | Can your solution facilitate population-level monitoring to identify patients meeting specific criteria for targeted outreach initiatives?
C | 2.09 | Can your solution send out reminders to patients to share/upload/sync their data for review?
C | 2.1 | What vitals does your device monitor? (Describe)
C | 2.11 | What diesease(s) does your device monitor for? (Describe)
C | 3 | Section 3: Set up and Integration
C | 3.01 | Do you have any current customer integrations with Epic, if so please describe the technical and operational data/workflows. If not, do you anticipate supporting Epic interoperability, and if so describe your plan and approach.
C | 3.02 | What functions or features are available only for users of your platform and not in Epic natively?
C | 3.03 | Do you offer your platform imbedded in an epic iframe?
C | 3.04 | Do you offer patient level context aware synchronization from within the iframe?
C | 3.05 | Does your product support MyChart integration? Please describe.
C | 3.06 | Can you support SSO (Single-Sign-On)? Is the SSO Context Based or at the application access level, please describe:
C | 3.07 | How are accounts typically provisioned? Manually? Through an AD Group? No accounts?
C | 3.08 | Please describe your implementation process. What are your major milestones and standard projected timeline from project start to project implementation?
C | 3.09 | How many Health Systems are currently live with Epic integration? Please provide a list of reference sites for our team to contact about product functionality, implementation and operational support.?
C | 3.10 a | Is your application listed in Epics Vendor Services Connection Hub (formerly App Orchard)?
C | 3.10 b | Do you integrate with FHIR API using HTTPS or VPN with V2 HL7, or other? Please Describe:
C | 3.11 | Are you able to provision the following FDA approved peripherals: Tablet, BP monitor, Pulse/Ox, Scale, pedometer, thermometer, and EKG?
C | 3.12 | Are devices approved for pediatric patients?
C | 3.13 | Are devices available in other sizes (e.g. larger blood pressure cuffs or scales) and if so, what?
C | 3.14 | Any others? (Stethoscope? other remote assessment devices?)
C | 3.15 | - Are you able to easily add new peripherals as technology becomes available?
C | 3.16 | Do your kits provide a cellular data signal so that Wi-Fi is not needed on the patient's end?
C | 3.17 a | If yes, is cellular provided via a hub, a tablet, or integrated cellular?
C | 3. 17 b | If yes, is cellular 4G LTE, 4G LTE-M, 5G LTE or 5G LTE-M.
C | 3.18 | If not all devices are able to use all supported connection methods, include a matrix that shows which devices can be used with which method.
C | 3.19 | If your solution integrates with Epic, could you please elaborate on how and where the data would be presented within the Epic system? Additionally, could you clarify what application build is necessary within Epic to facilitate this integration?"
C | 3.2 | What is your turnaround time for optimization and new device integration requests? What does that request process look like?
C | 3.21 | What is your long term plan for your RPM offering?
C | 3.22 | Do you have any publications on the efficacy of your program?
C | 3.23 | Can the devices/kit logistics be tracked through Epic integration? From initial order through return (Please describe)
C | 3.24 | Can we customize new content? Can we choose/exclude questions on same population based on the patient's needs (e.g. questions shown only to patients with feeding tubes)
C | 3.25 | Is any AI employed in data processing for the dashboard? Please describe the details?
C | 3.26 | Is the solution web-based? If so, where is the RPM solution hosted?
C | 3.27 | How do you create a user profile?
C | 3.28 | Do you have a dedicated resource to participate in our mandatory IT Security Review Process?
C | 3.29 | Please provide information about the hosting data center security practices?
C | 4 | Section 4: RPM Capabilities
C | 4.01 | What features have you added in the last year? What are your planned upgrades? Please provide a product roadmap?
C | 4.02 | Do you have a mobile application and web based application for patients? Describe
C | 4.03 | What iOS, iPadOS, and Android versions are supported, and how do you stay up to date as operating systems and hardware change?
C | 4.04 | Do you have a mobile application and web based application for providers? Describe
C | 4.05 | Do you have a mobile application for family caregivers and/or home caregivers? Describe
C | 4.06 | Is there a limit to the number of users or devices that can be used simultaneously? If yes, please describe the limitations.
C | 4.07 | Does your RPM product have the following capabilities?
C | 4.08 a | a. Biometric Device Connection including wearables? Describe
C | 4.08 b | b. Disease Pathways? Describe
C | 4.08 c | c. Remote Visits? Describe
C | 4.08 d | d. Patient Surveys? Describe
C | 4.08 e | e. Educational Videos? Describe
C | 4.08 f | f. BYOD (Bring Your Own Device) offering? Describe
C | 4.09 | Describe the patient -clinician communication capabilities.
C | 4.09 a | a. Secure Text Messaging? Describe
C | 4.09 b | b. Automated Messages? Describe
C | 4.09 c | c. Bidirectional text interaction where participants can respond to prompts offering various assistance? Describe
C | 4.1 | How does your solution support medication adherence?
C | 4.11 | How does your solution support client reimbursement?
C | 4.12 | How easily can patients be assigned to certain features or have their pathways adjusted?
C | 4.13 | How do you identify patients? Can you display the facility/unit? Can you search for patient names?
C | 4.14 | Does your solution have the ability to triage and red flag high acuity patients?
C | 4.15 | Does your platform allow for hospital-based clinicians to handle monitoring, alerts, logistics?
C | 4.16 | Can alerts be generated and communicated to other clinicians? If so, how are they communicated?
C | 4.17 | Do you support wound/other imaging?
C | 4.18 | Do you provide end-to-end Customer Service for device management; handling of all device technical issues and patient logistics (Deployment/Retrieval/Refurbishing)?
C | 5 | Section 5: Clinical Scenario Please describe in as much detail as possible the technical configuration of your system that would best meet the requirements of the following scenario. Please provide a technical response in the context of any recommended workflows and system configuration, including where appropriate any interface or integration configuration that will allow clinicians or support staff at your organization and ours, to use your system and the electronic medical record to efficiently support this scenario. You may attach workflow diagrams, data flow diagrams, or other visual aids as appropriate.
C | 5.01 | Hypertension: A hypertensive patient is identified by their PCP to take part in a 3 month at home blood pressure and weight management monitoring program. The PCP notes that the patient needs an extra large blood pressure cuff and scale. The PCP will not be monitoring the patient themselves but will be referring to other clinical resources (who will be billing 4 different RPM codes) to do monitoring. The provider wants to be notified if the patient shows signs of becoming acute or uncontrolled, but they do not want to be notified every time a reading is received, even if it is an out of range reading. Rather those readings should be validated, and past data reviewed before alerting the provider if appropriate. The provider only works in Epic and will not use any other systems. The equipment is delivered to the patient, but after 5 days no data has come back from the patient. Someone will need to be notified to follow up with the patient to make sure they received the equipment and know how to operate it. After being trained to use the equipment, several values come back into the system automatically in quick succession. Only one of these values is needed in Epic, and on any day the expectation is that only one value from the blood pressure cuff will come back into Epic. The following day, however, the patient puts on the blood pressure cuff and takes a reading, which shows dangerously out of range. Someone needs to be notified to contact the patient and determine if they are in distress, or if there was a user or equipment error. On talking to the patient, it becomes clear that the patient had exercised prior to putting on the cuff, so had an erroneous value. They are asked to capture the data again after resting. The erroneous value should be discarded and not considered in the future, while the replacement value, which has been validated, is used instead. If this patient is later escalated to the PCP, only the correct validated data should be seen.
| 5.02 | Pediatric Endocrinology: A pediatric endocrinologist would like to assist a 16-year-old patient with managing their blood glucose levels using their new continuous glucose monitoring (CGM) device. The endocrinologist has the device in clinic and during their visit the patient is walked through initial use and maintenance. The patient is sent home with the device and the patient begins to acquire data which is automatically sent to the vendor system at regular intervals and then to the EMR. Once a month, the provider wants to receive a summary of the patient’s CGM data which is also available in the EMR. Clinic staff want to generate a weekly report which identifies all of their patients who are using CGM and have met specific criteria (e.g. spending >5% of time <70 mg/dl, wearing the device <70% of the time, etc). These alerts should be in the EMR to facilitate staff assignment and leverage standard workflows. One week, clinic staff notify the provider that the patient in question has had a change in glycemic control and now has a high percentage of their CGM readings out of range. The provider decides to reach out to the patient to discuss causative factors and any needed changes in insulin dosing and/or behavioral management. Knowing that the patient is unlikely to respond to a phone call and prefers text messaging, they decide to message the patient through SMS. SMS is not considered by UC Davis to be a HIPAA secure modality so only preapproved ‘canned’ messages with only very limited PHI such as glucose readings, times, and available upcoming appointments or call back times are allowed. Responses are similarly required to be limited to only predefined text such as Press 1 to acknowledge message, press 2 if you would like a call back, etc. Please describe how you would solve this problem and any functionality available to provide meaningful SMS messages while exposing a minimum of PHI. Also describe how EPIC MyChart can be leveraged for such communications and how parents and other caregivers can be involved and updated.
C | 6 | Section 5: Reporting
C | 6.01 | Please provide examples of standard reports for individual patients and patient populations.
C | 6.02 | Are there reports to gather free text responses?
C | 6.03 | Can we export data? Which formats can the data be exports? Any fees?
C | 6.04 | Describe what kind of data analysis support, if any, will be provided. What is the charge for this type analysis?
C | 6.05 | Describe the fees for integration to other solutions. Are there maintenance fees associated with the integrations?
C | 6.06 | What are your data visualization capabilities?
C | 6.07 | How will reports be accessed?
C | 6.08 | Can you provide a sample report for each type of device/patient use case so that we can see how the data will be transmitted?
C | 6.09 | Can your solution generate customizable population-level reports and analytics?
C | 6.1 | Please describe your standard reporting for utilization.
C | 6.11 | Is data available in real-time? Describe
C | 6.12 | Is it possible to delete erroneous data in the case a patient has a device problem?
C | 6.13 | Is it possible to send data to the EMR only after the data has been validated?
C | 6.14 | Is there a dashboard view available? Describe
C | 7 | Section 6: Billing
C | 7.01 | What information and assistance can your project team offer to enable RPM billing for providers using their product?
C | 7.02 | Can your product create time-based reports that will make it easy to drop charges in Epic?
C | 7.03 | Has your product been used by other clients who were able to successfully complete RPM billing?
C | 7.04 | Can you provide some data/workflows around the billing process?
C | 7.05 | What are your capabilities for sending billing codes?
C | 8 | Section 7: Cost
C | 8.01 | What is the cost of the device purchase?
C | 8.02 | What is the cost of the device rental?
C | 8.03 | What is the cost of the volume pricing?
C | 8.04 | What is the cost of extra features?
C | 8.05 | Are there any research discounts?

## D_Prof Services-Implementation
Tab D: Professional Services & Implementation
Instructions: The Bidder should respond to each item in the Comments column. The Bidder must attach the requested documentation for item marked with "x" in the Attachment column and provide the attachment title in the Attachment Title column. Comments omitted for any item may render the Bidder's proposal non-responsive.
Tab | Item No. | Item | Attachment | Attachment Title | Comments
D | 1 | Project Management Approach
D | 1.1 | Describe your Project Management Plan to manage the project, including: schedule, scope, resource, budget, communications, risk, issues, quality, and change management. Provide an example. | x
D | 1.2 | Describe your strategies for ensuring adherence to documented schedule and methods to address schedule changes.
D | 1.3 | Describe your scope management process.
D | 1.4 | Describe your approach to maintaining good communication across the project team. List the various communication channels.
D | 1.5 | Describe your recommendation of a methodology for identifying, and tracking issues and risks that impact the project timeline or efficacy of desired outcomes.
D | 2 | Change Management
D | 2.1 | Describe your approach/recommendation for change management for the various items in the roadmap. Include time to execute scope changes like changes to the scope of services, hours, new modules, etc. Provide change management plan example. | x
D | 3 | Quality Control
D | 3.1 | What strategies do you utilize to ensure deliverables meet the customer expectations?
D | 3.2 | Describe the approval process used to obtain customer approval on deliverables.
D | 3.3 | What dashboards or scorecards do you provide to your clients to measure accountability of your organizations performance on the project?
D | 3.4 | Describe your resource utilization management methodology. How do you track resources work per deliverables?
D | 4 | Implementation Planning
D | 4.1 | Indicate the earliest approximate date you can start the project and required lead time for engagement. Highlight dependencies for determining the start date.
D | 4.2 | Is Implementation conducted onsite and/or remotely?
D | 4.3 | Describe, in detail, your process for developing implementation plan and estimating the implementation duration. Provide a draft Project Schedule with UCDH specific milestones, tasks, and timelines for all in scope items from the contract's signing to completion of the post implementation support phase. The draft schedule should account for implementation for 2 departments with all in scope items. | x
D | 4.4 | Describe the system's environment structure (ex. development, test, training, production environments) that you recommend for UCDH. Describe any migration tools and change management process for moving items from one environment to another.
D | 4.5 | Which environment do you recommend for UCDH to start the development in taking into account all in scope items (configuration for 2 departments, data migration, and multiple interfaces)? Explain why.
D | 4.6 | What online resources are available during implementation?
D | 5 | RPM Experience
D | 5.1 | Describe you experience implementing your RPM for 2 or more patient types?
D | 5.2 | Describe your experience implementing your iOS Mobile Application for your RPM?
D | 5.3 | Describe your RPM customer web service requests portal for requesting service and providing automated request fulfilment status updates and describe your implementation experience?
D | 6 | Interfaces Experience
D | 6.1 | Does your RPM solution have a bi-directional integration capability?
D | 6.2 | Does your RPM solution have an integrated web component? If yes, which one(s)?
D | 6.3 | Describe your experience integrating your RPM solution with Active Directory Federation Services (ADFS) integration.
D | 7 | Setup
D | 7.1 | Describe how the following will be configured to support the application: 1) Connectivity 2) Load balancing 3) Redundancy 4) Storage.
D | 7.2 | Describe (if applicable) any on-premise software (e.g., desktop clients), firmware or other processes that need to be set up. Include the following: 1) Any products that need to be installed 2) Any additional servers required to run management/configuration/reporting software 3) How system is configured and whether any additional hardware or software is required.
D | 7.3 | The vendor shall provide the data fields dictionary and work with UCDH implementation team to define all data fields dependencies.
D | 7.4 | Describe the vendor training offered and training documentation provided for custom reporting tool.
D | 8 | Analysis
D | 8.1 | Describe, in detail, your company’s process for performing an assessment of an organization's existing business processes and technical infrastructure. List the deliverables/documents produced.
D | 8.2 | Describe any UCDH efforts required to assist with UCDH's infrastructure analysis/validation completion.
D | 8.3 | Provide sample Business Requirements Document (BRD) with functional requirements, non-functional requirements, etc. | x
D | 8.4 | Provide sample Current and Future process flows and Gaps Analysis documentation. | x
D | 9 | Testing
D | 9.1 | Describe testing strategies used on past engagements. Provide details on tools and techniques.
D | 9.2 | Describe your recommendation for test phases including your definition and description of each test phase.
D | 9.3 | Describe your testing acceptance process.
D | 9.4 | Provide sample test plan(s) for all aspects of the implementation. | x
D | 10 | Training
D | 10.1 | What forms of training are available (e.g. on site, on-line, etc.)?
D | 10.2 | What training methods are available (ex. train the trainer/superusers, all users trained by UCDH superuser, all users trained by vendor, etc.)
D | 10.3 | Specify the training form, method, and length for each user group (ex. end users, operational/back office users, support teams and information technology staff.) Provide training documents samples. | x
D | 10.4 | What initial training will you provide to UCDH clinical team and IT personnel?
D | 10.5 | List training materials that you will provide to UCDH (ex. end user training manuals, videos). The training material should be customized to include UCDH specific process flows and system screen shots.
D | 11 | Project Deployment and Stabilization
D | 11.1 | Describe your project deployment process. Provide a sample project deployment plan, including pre go live, cutover, go live, post go live stabilization tasks, and communication plan. | x
D | 12 | Project Close out
D | 12.1 | Describe your project closeout process. Provide sample project closeout documentation. | x
D | 13 | Project Staffing
D | 13.1 | Describe your model for governance and account management.
D | 13.2 | Describe UCDH's ability to review staff being assigned to the project and onboarding process.
D | 13.3 | Describe the process to remove staff from a project upon UCDH's request.
D | 13.4 | Describe the process for managing project coverage for staff turnover, absenteeism, etc.
D | 13.5 | Provide as a separate attachment detailed Staffing Plan for vendor and UCDH resources, including _roles, _# of resources for each role, _# of hours for each role, _responsibilities, _skillsets for every phase of the project for in scope items (RPM solution, mobile solution, data migration, integration implementation and support). | x
D | 13.6 | Indicate how much time vendor resources will work on-site (if applicable) and for which steps in the implementation plan.
D | 13.7 | Provide an attachment with the names, title, job description, and experience of your staff who will be assigned to this project with estimated percentage of their work hours devoted to UCDH's project. | x
D | 13.8 | Provide resume of the project manager who will be assigned to UCDH's implementation. Indicate whether the assigned project manager is a vendor employee or subcontractor. (UCDH requires a dedicated Project Manager to manage the implementation, not limited to creating and managing the project plan, coordinating periodic status meetings, and providing status reports throughout the project's duration. Project Manager will work closely with UCDH to develop a comprehensive implementation schedules for each phase of the project including vendor and UCDH's tasks. ) | x
D | 13.9 | Describe how you will meet the following requirement: Bidder will provide qualified and sufficient staff and resources for all planned and unknown/emerging activities to facilitate the project completion in the allocated time frame to support project management, administrative, technical, custom development, analysis, training, communication, change management and any other activities.
D | 13.1 | Acknowledge that resources designated by the vendor will remain in place throughout the project except to the extent illness, injury, or employment change makes such continuity impossible, or if replaced at the request of UCDH.
D | 14 | Subcontractors and Offshore services
D | 14.1 | Will any subcontractor/ third party vendors be engaged to supplement your staff? If yes, specify the name, location, and the extent of their involvement in providing the solution/services. Please describe how you monitor the quality of their work.
D | 14.2 | Are any portions of your service performed by workers outside of the United States? If so, please detail.

## E_Support
Tab E: Support
Instructions: The Bidder should respond to each item in the Comments column. The Bidder must attach the requested documentation for item marked with "x" in the Attachment column and provide the attachment title in the Attachment Title column. Comments omitted for any item may render the Bidder's proposal non-responsive.
Tab | Item No. | Item | Attachment | Attachment Title | Comments
E | 1 | Customer Service
E | 1.1 | Do you provide telephone and internet-based support?
E | 1.2 | Identify the office, it's location, time zone which would provide UCDH support.
E | 1.3 | Provide sample Service Level Agreement (SLA). Vendor resources shall be assigned to fix system errors or failures. The Vendor shall respond to client questions to acknowledge receipt of question and provide an estimate as to when a reply can be expected. | x
E | 1.4 | What are your standard customer support hours? Describe during business hours and after hours contact procedure (if applicable). At a minimum, the vendor shall maintain and make available regular client support staff during normal business hours (8am- 5pm Pacific Standard Time) and provide emergency after hours support.
E | 1.5 | Describe available resources, provide the URL, and access procedures for application support. The vendor shall maintain and make available current/up-to-date application web resources, FAQ (built-in help), publications, references, and training materials, etc.
E | 1.6 | Do you maintain a web list or a forum site where clients can post questions and exchange information and ideas with other clients.
E | 1.7 | Do you make training opportunities, User Conferences, and Educational Courses available to clients. Please describe regularly offered training opportunities.
E | 1.8 | Will there be a designated representative assigned to our organization to handle all issues that come up?
E | 1.9 | How are known software problems resolved? Do you routinely publish a list of known problems?
E | 2 | Describe the process to submit and track requests for fixes to issues that arise. Are the issues escalated from Level 1 support to higher levels of Help Desk support?
E | 2.1 | What are the criticality levels that can be assigned to issues? How do you accommodate criticality level based on customer's perspective?
E | 2.2 | Describe the process to escalate issues that fail to be resolved within the expected turnaround time. How is the escalated issues monitored and by whom? Is there an escalation point of contact?
E | 2.3 | Does the vendor support team have the ability to provide remote support when issues arise?
E | 2.4 | What is your software warranty period and what is covered?
E | 2.5 | Acknowledge that all software changes, updates, new features, support for existing and new features, and custom reports development requests should be included at no additional charge.
E | 2.6 | Describe the process for requesting new custom reports or updates to the existing custom reports.
E | 2.7 | Describe enhancements/customization requests submission process. How are requests evaluated and customers noticed about requests' acceptance or rejection?
E | 2.8 | Do you offer continuous updates with additional functionality/features? If yes, please describe.
E | 2.9 | Describe what support is available without an internet connection.
E | 3 | What internet browsers do you support?
E | 3.1 | Is there a limit to the number of users or devices that can be used simultaneously? If yes, please describe the limitations.
E | 3.2 | How do you communicate software update?
E | 2 | Upgrades and Software Releases
E | 2.1 | Describe your policy for supporting prior releases.
E | 2.2 | Outline the recommended UCDH staffing requirements and skills needed for ongoing support of the system. Please indicate the number and types of resources required and amount of time they will need to spend on routine support, optimization, upgrades, etc.
E | 2.3 | How and when do you notify the customers about your product development and system enhancements roadmap?
E | 2.4 | How often are major releases produced and delivered?
E | 2.5 | Describe how new enhancements are installed including frequency and time required to accomplish?
E | 2.6 | Describe how often and for how long the system is not available due to scheduled and un-scheduled maintenance.
E | 2.7 | Can maintenance be scheduled for after business hours (if downtime is required)?
E | 2.8 | If your system is configurable by the customer, how do software upgrades impact these configurations? Does configuration need to be reapplied with new software releases?
E | 2.9 | Are upgrades cumulative (i.e. should every upgrade be applied or customer may select which upgrades to apply)?
E | 3 | How do you communicate software updates?
E | 3 | Performance
E | 3.1 | Explain how the system performance is guaranteed. System performance is paramount to customer satisfaction.
E | 3.2 | How does your organization size your system initially and how do you protect us from performance impact as we grow?
E | 3.3 | How is data saved and is it backed up? Describe database back-up and recovery procedures including downtime required, if any.
E | 3.4 | Please explain how 99.99% uptime is guaranteed and maintained on an annual basis.
E | 3.5 | How do you communicate server issues?