## Instructions to Bidders
Request for Proposal: Healthcare Equipment Planning Software
Ref: RFP # 00050
Exhibit B - Requirements & Response Template
Instructions to Bidders
1 | Bidders must complete and submit each of the tabs referenced below.
2 | This form must be returned to UC Davis Health (UCDH) in native .xlsx (Excel) format.
3 | The format of this template must not be altered or changed in any way.
4 | Bidders are responsible for ensuring that each and every field between Tab A (Vendor Qualifications), and Tab E (Support) is completed with a response.
5 | UCDH reserves the right to reject incomplete responses.
7 | Bidders should be brief and succinct in their responses to each of the requirements.
Tab A | Vendor Qualifications | Bidders must indicate their level of compliance on all fields
Tab B | References | Bidders must provide three (3) references of a similar profile to UC Davis Health's requirements
Tab C | Software Requirements | Bidders must indicate their level of compliance on all fields
Tab D | Prof Services-Implementation | Bidders must indicate their level of compliance on all fields
Tab E | Support | Bidders must indicate their level of compliance on all fields
This Exhibit C, once completed, should be returned to UC Davis Health in native .xlsx format.

## A_Vendor Qualifications
Tab A: Vendor Qualifications (Business and Experience)
Instructions: Please provide a response to each comment listed. UC Davis Health believes that the prospective Bidder's previous experience, financial capability, expertise of personnel, and related factors are important in assessing the Bidder's potential to successfully fulfill the qualifications defined herein. Lack of comments to any items listed may render the Bidder's proposal as non-responsive.
Tab | Item No. | Item |  | Comments
A | 1 | Company Information
A | 1.1 | What is the official Company Name and DBA (if applicable)?
A | 1.2 | What is the official Company Name used on W9?
A | 1.3 | What type of Business?
A | 1.4 | What is the Principle Address of the Business?
A | 1.5 | What is the Company Phone Number
A | 1.6 | What is the Company Website Address
A | 1.7 | What is the Tax Identification Number (TIN)
A | 1.8 | Do you have a Dun & Bradstreet Number? If yes, what is that number.
A | 1.9 | What is the Length of time in business?
A | 1.1 | What is the total number of clients?
A | 1.11 | Company Contact Name: Telephone: Email:
A | 1.12 | Size of your organization (number of employees)
A | 1.13 | Is you company a certified Small Business (SB), Microbusiness (MB) or Disabled Veteran Business Enterprise (DVBE)? Provide copy of the certificate.
A | 1.14 | Provide a brief overview of your company, including but not limited to, ownership structure, number of years in business, vision, and line of products.
A | 1.15 | Specify regions that company operates in (ex. local, regional, national, or international.)
A | 1.16 | Number of field service/sales representatives/engineers in northern California
A | 2 | General Services
A | 2.1 | Provide your company's service philosophy and approach.
A | 2.2 | How do you measure client satisfaction? Provide examples of tangible changes that have been implemented as a direct result of client feedback. Please furnish a copy of your company’s service standards.
A | 2.3 | Has your company, software development, or hardware ever been subjected to product litigation? Please explain.
A | 2.4 | What separates and distinguishes your company from your competitors?
A | 2.5 | What are the greatest benefits that your organization brings to UCDH regarding the products and services outlined in this RFP?
A | 2.6 | How long has your company provided hosted CMMS solutions in the US?
A | 2.7 | What is the total number of hospitals/clients your company provides CMMS solutions for in US?
A | 3 | Financial Stability
A | 3.1 | Provide a report of the Bidder’s financial status, including the most recently audited financial statements and profit and loss statements or equivalent evidence of financial stability and include auditor's opinion.
A | 3.2 | Provide a statement of the total dollar amount of work performed by Bidder for the University of California in the past twelve (12) months and specify the campus(es) served. The contract will not be awarded to any Bidder that has failed to perform in a satisfactory or faithful manner on any previous contract or purchase order with the University of California.
A | 3.3 | Identify by name and University position any University officer, faculty member or other employee who holds a position of director, officer, partner, trustee, manager or employee in the Bidder’s company, as well as the name of any near relatives who are employed by the University.
A | 4 | UC Terms and Conditions Acceptance | Response Code: 3-Accept As IS 2- Accept with Minor Changes 1-Accept with Major Changes 0 - Do not accept | UCDH preferrs no changes to UCDH Terms and Conditions. If changes are needed please describe the changes and reason for the request. All Attachments must be numbered and referenced in the Response Column.
A | 4.1 | Do you accept UC Davis Health Professional Services Purchase Agreement-(Exhibit A)
A | 4.2 | Do you accept UC Terms and Conditions of Purchase - (Appendix A)
A | 4.3 | Do you accept Appendix – HIPAA Business Associate – (Appendix B)
A | 4.4 | Do you accept Appendix – Data Security and Privacy – (Appendix C)
A | 5 | Mandatory Requirements | Response: Yes/No
A | 5.1 | Does the solution provide mobile communication apps for iOS and Android devices?
A | 5.2 | Does the solution provide a web-based platform for desktop employees?
A | 5.3 | Is the solution capable of publishing content that allows system admins to format content for delivery on mobile, web, email and other platforms (via integration - example Share Point etc..)?
A | 5.4 | Does the solution provide a content calendar to plan / manage communications timing? Is this built into the publishing platform?
A | 5.5 | Does the solution integrate into other enterprise systems that might be used in a coporate enviornment? Does the solution support APIs?
A | 5.6 | Is there a plan to sunset or replace your current version with a new version or platform? If yes what is the time frame for this change?
A | 5.7 | Would the proposed solution be hosted on the UC Davis Health IT infrastructure, or is information accessed via the Internet through logged-in web portals, externally available apps, or other non-hosted portals?
A | 5.8 | In addition to Medical Equipment, does the current version of the proposed solution, or will a future version support Furniture and/or IT Equipment planning or standardization?
A | 5.9 | If requested, can you provide a demo of the platform, exhibiting the notable workflows and features? This is an ideal opportunity to also share budgeting and cost estimating tools, including Revit, CAD/BIM functionality and other. This will be an opportunity to communicate the availability of future options and features.
A | 6 | Are there tools, features and options in development not available today but will be made available in the future? Describe in comments section.
A | 6.1 | In addition to Medical Equipment, does the current version of the proposed solution, or will a future version support Furniture and/or IT Equipment?
A | 6.2 | Help Desk Customer Support: do you have a standard response time for customer support requests and inquiry's? Phone and/or email? Describe in comments.

## B_References
Tab B: References
Instructions: The Bidder shall submit references information with similar requirements to UCD Health. Include as many refrences as needed to demonstrate the Bidder's ability to successfully fulfill the elemnts listed in the "Implementation information" section.
Tab | Item No. | INFORMATION REQUESTED | REFERENCE #1 | REFERENCE #2 | REFERENCE #3
B | 1 | Cutomer Information
B | 1.1 | Customer name
B | 1.2 | Street address
B | 1.3 | City/State/Zip Code
B | 1.4 | Contact name/title
B | 1.5 | Contact telephone number
B | 1.6 | Contact Email address
B | 1.7 | Summary of project
B | 1.8 | State Modules purchased (or other scope-of- solution information)
B | 1.9 | State [describe] volume managed by the solution (or similar metric)
B | 1.1 | Date system implementation started
B | 1.11 | Date system was approved for production
B | 1.12 | Approximate contract value
B | 2 | Implementation Information | Respond Yes or No | Respond Yes or No | Respond Yes or No
B | 2.1 | Is the client a Hospital or University?
B | 2.2 | Was the implementation organization wide?
B | 2.3 | Implemented mobile solution?
B | 2.4 | Implemented web solution?
B | 2.5 | Implemented across multiple endpoints?
B | 2.6 | Customer's opinion of difficulty of implementation.
B | 2.7 | Customer's opinion of difficulty of use.
B | 2.8
B | 2.9
B | 2.1
B | 2.11
Does the system have a Service Request/Work Order submission and routing to support team functionality?
System must have a customer web service portal for requesting service, give status and close out
Does the system have an integrated web component (preferrably SOAP, REST, API, Web services)
Does the system have a bi-directional integration capability?
Does the system have a proven case integrating with ServiceNow? (DM)
Does the system have Clinical Engineering (a.k.a. Healthcare Teachnology Management) functionality?
Does the system have Plant Operation & Maintenance (a.k.a. PO&M, Facilities) functionality?
Does the solution have a bidirectional interface with Infor Lawson Purchasing System?
Does the CMMS support automatic location updates from RFID-tagged equipment (UC Davis Health uses Stanley/MobileVew RTLS system)
Does the solution integrate with third-party cybersecurity solutions?
Must have a mobile solution for either iOS or Android (phone and tablet)
Note on D48: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can be removed or revised to include PO&M..
Note on D52: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: move out from Mandatory section?

## C_Technical Requirements
Tab C: Technical Requirements
Instructions: The Bidder must: 1. Specify the Attachment Title in Column F for requirements with requested attachments (marked with "x" in column E) 2.Specify a "Response Code" value 0, 1, 2, or 3 in Column H, 3.Specify the Solution module in Column I, 4. In the "Comments" Column J describe how you would meet each requirement (provide the description/detailed answer/explain non-compliance/describe alternative solution). Omission of any required information may render the Bidder's proposal non-responsive.
Tab | Item No. | Requirement | Attachment Requested | Attachment Title | Priority (High/ Medium/ Low) | Response Code 3=Meet Requirement/Out of the box, 2=Have with configuration, 1=Have with customization, 0=Do not have/can't fulfill | Solution Module | Comment
C | 1 | Mobile and Web End-User Experience
C | 1.1 | Solution should have a mobile app accessible in app stores for download to team members’ phones
C | 1.2 | Users should be able to perform the following via the mobile app and desktop web browser
C | 1.2.1 | Search and access projects
C | 1.2.2 | Create new projects
C | 1.2.3 | Edit projects
C | 1.2.4 | Run, download and/or email project reports and equipment lists
C | 1.2.5 | Navigate directly to equipment specifications and to projects.
C | 1.2.6 | Filter projects by Project ID or Project Name
C | 2 | User Access and Permissions
C | 2.1 | Users should be able to provide or request access for non-UCDH personnel with guest non-edit view-only access to projects
C | 2.2 | Users should be able to see edit history and/or identify if edits or updates were made to a project with a date/time stamps
C | 3 | Functional Capabilities and Options
C | 3.1 | Describe the platform's functional capabilities and options, including customization options
C | 3.2 | Describe the platforms unique and/or proprietery capabilities and features that no other platform offers
C | 3.3 | Solution should include access to equipment specifications
C | 3.4 | Solution should include an image library is searchable by terms
C | 3.5 | Describe if platform includes algorithmic or Artificial Intelligence features or controls
C | 3.6 | Describe if platform has a communications/messaging capability between users
C | 3.7 | The proposed solution shall include functionality for:
C | 3.7.1 | Room-by-room Equipment planning
C | 3.7.2 | Equipment inventory and catalog management
C | 3.7.3 | Equipment Specification management
C | 3.7.4 | Budget development and cost estimating
C | 3.7.5 | Procurement tracking
C | 3.7.6 | Scheduling and milestone tracking
C | 3.7.7 | OFCI/OFOI coordination
C | 3.7.8 | Existing asset reuse tracking
C | 3.7.9 | Reporting and dashboard capabilities
C | 3.7.10 | Workflow management and approvals
C | 3.7.11 | Multi-user collaboration
C | 3.7.12 | Audit trail and revision history
C | 3.7.13 | Standards library management
C | 3.7.14 | Space and room data integration
C | 3.7.15 | Project template creation and reuse
C | 3.7.16 | Data import/export functionality
C | 4 | Reporting and Analytics, Data Migration
C | 4.1 | User should be able to access a project based dashboard reflecting summary metrics or analytics
C | 4.2 | User should be able to customize the dashboard
C | 4.3 | Solution should provide ability to bookmark and favorite various reports.
C | 4.4 | Describe the functionality and options that are specific to running and exporting various reports
C | 4.5 | The user should be able to export reports to MS Excel, PDF, other
C | 4.6 | Vendor shall support migration of existing inventory and project data, including but not limited to:
C | 4.6.1 | Medical Equipment
C | 4.6.2 | Existing standards catalogs
C | 4.6.3 | Budget databases
C | 4.6.4 | Legacy project equipment lists and historical project data
C | 4.6.5 | Room templates
C | 4.6.6 | Equipment specifications
C | 4.7 | The solution shall provide configurable reporting and dashboard functionality capable of supporting operational and executive reporting needs, such as:
C | 4.7.1 | Equipment budget summaries
C | 4.7.2 | Cost escalation reporting
C | 4.7.3 | Project status dashboards
C | 4.7.4 | Procurement status tracking
C | 4.7.5 | Variance reporting
C | 4.7.6 | Asset reuse reporting
C | 4.7.7 | Standardization compliance metrics
C | 4.7.8 | Exportable reporting formats
C | 5 | Standardization and Catalog Management
C | 5.1 | Describe how the platform can support equipment standardization
C | 5.1.1 | Creation of standardization
C | 5.1.2 | Maintenance and management of standardization
C | 5.2 | Describe if and how the platform may automatically flag if an equipment selection is End-of-Life or End-of-Service
C | 5.2.1 | Centralized approved equipment catalogs
C | 5.2.2 | Specification templates
C | 5.2.3 | Standard room templates
C | 5.2.4 | Governance and approval workflows
C | 5.2.5 | Standardization management
C | 5.2.6 | Version control and change tracking
C | 6 | System Setup and General Requirements
C | 6.1 | User Interface and Configuration
C | 6.1.1 | Solutions should have a browser-based interface agnostic with regard to browser type, including current and recent versions of Internet (ex. Microsoft Edge, Chrome, Firefox, etc.)
C | 6.1.2 | Does the application meet not meet any accessabilty standards and regulations?
C | 6.2 | Help Tools
C | 6.2.1 | Solution should have "Help" content feature accessible. Describe.
C | 6.2.2 | Solution should have Tool tips. Describe
C | 6.3 | Search and Print
C | 6.3.1 | The users should be able to search on various fields thorough out the application, including user defined fields.
C | 6.3.1.1 | The user should be able to print search results from specific screens.
C | 6.3.1.2 | The users should be able to export search results to MS Excel, MS Word, CSV, PDF, etc.
C | 6.3.1.3 | The user should be able to select the data elements to export to MS Excel, MS Word, CSV, PDF, etc.
C | 6.4 | Configuration and Customization, System Intergration
C | 6.5 | Solution should be configurable to minimize the need for customization.
C | 6.6 | Solution should be customizable (but customization should be avoided).
C | 6.7 | Confirm if the solution can support potential integration capabilities with existing University systems and third-party applications, including:
C | 6.7.1 | ERP/procurement systems
C | 6.7.2 | CMMS and asset management systems
C | 6.7.3 | BIM/Revit platforms
C | 6.7.4 | Project management systems
C | 6.7.5 | Scheduling platforms
C | 6.7.6 | Data warehouse and reporting systems
C | 6.7.7 | Single sign-on (SSO) authentication systems
C | 6.7.8 | The vendor shall describe available APIs, interoperability standards, integration methodologies, and associated licensing requirements.
C | 6.8 | Implementation Services
C | 6.9 | The vendor shall provide implementation services including
C | 6.9.1 | Project kickoff and implementation planning
C | 6.9.2 | System configuration and customization
C | 6.9.3 | Data migration and validation
C | 6.9.4 | User role and permission setup
C | 6.9.5 | Integration configuration
C | 6.9.6 | Testing and quality assurance
C | 6.9.7 | Go-live support
C | 6.9.8 | Post-implementation stabilization support
C | 7 | Training, Technical Support and Maintenance
C | 7.1 | The vendor shall provide comprehensive training and change management service, including:
C | 7.1.1 | System administrator training (if applicable)
C | 7.1.2 | End-user training
C | 7.1.3 | Executive user training
C | 7.1.4 | Training documentation and user guides
C | 7.1.5 | Recorded training sessions
C | 7.1.6 | Ongoing refresher training options
C | 7.1.7 | The vendor shall also provide recommendations for user adoption and organizational change management strategies.
C | 7.2 | The vendor shall provide ongoing software support and maintenance services including:
C | 7.2.1 | Help desk support
C | 7.2.2 | Issue tracking and escalation procedures
C | 7.2.3 | Software updates and patches
C | 7.2.4 | System performance monitoring
C | 7.2.5 | Disaster recovery and business continuity measures
C | 7.2.6 | Service level agreements (SLAs)
C | 7.2.7 | Cybersecurity and vulnerability management practices
C | 8 | Security and Compliance Requirements
C | 8.1 | The proposed solution shall comply with applicable University and healthcare industry requirements related to:
C | 8.1.1 | Data security
C | 8.1.2 | User authentication and access controls
C | 8.1.3 | Encryption standards
C | 8.1.4 | Audit logging
C | 8.1.5 | HIPAA considerations where applicable
C | 8.1.6 | Cybersecurity best practices
C | 8.1.7 | Data retention and backup policies
C | 9 | Deliverables
C | 9.1 | The selected vendor shall provide the following deliverables:
C | 9.1.1 | Detailed pricing structure with applicable incentives for bundle user-licenses
C | 9.1.2 | Configured software platform
C | 9.1.3 | Implementation plan
C | 9.1.4 | System configuration documentation
C | 9.1.5 | Data migration plan and validation reports
C | 9.1.6 | Training materials and user guides
C | 9.1.7 | Testing and acceptance documentation (if applicable)
C | 9.1.8 | Go-live support plan and ongoing support documentation

## D_Prof Services-Implementation
Tab D: Professional Services & Implementation
Instructions: The Bidder should respond to each item in the Comments column. The Bidder must attach the requested documetation for item marked with "x" in the Attachement column and provide the attachement title in the Attachment Title column. Comments omitted for any item may render the Bidder's proposal non-responsive.
Tab | Item No. | Item | Attachment | Attachment Title | Comments
D | 1 | Project Management Approach
D | 1.1 | Describe your Project Management Plan to manage the project, including: schedule, scope, resource, budget, communications, risk, issues, quality, and change management. Provide an example.
D | 1.2 | Describe your strategies for ensuring adherence to documented schedule and methods to address schedule changes.
D | 1.3 | Describe your scope management process.
D | 1.4 | Describe your approach to maintaining good communication across the project team. List the various communication channels.
D | 1.5 | Describe your recommendation of a methodology for identifying, and tracking issues and risks that impact the project timeline or efficacy of desired outcomes.
D | 2 | Change Management
D | 2.1 | Describe your approach/recommendation for change management for the various items in the roadmap. Include time to execute scope changes like changes to the scope of services, hours, new modules, etc. Provide change management plan example.
D | 3 | Quality Control
D | 3.1 | What strategies do you utilize to ensure deliverables meet the customer expectations?
D | 3.2 | Describe the approval process used to obtain customer approval on deliverables.
D | 3.3 | What dashboards or scorecards do you provide to your clients to measure accountability of your organizations performance on the project?
D | 3.4 | Describe your resource utilization management methodology. How do you track resources work per deliverables?
D | 4 | Implementation Planning
D | 4.1 | Indicate the earliest approximate date you can start the project and required lead time for engagement. Highlight dependencies for determining the start date. | x
D | 4.2 | Is Implementation conducted onsite and/or remotely?
D | 4.3 | Describe, in detail, your process for developing implementation plan and estimating the implementation duration. Provide a draft Project Schedule with UCDH specific milestones, tasks, and timelines for all in scope items from the contract's signing to completion of the post implementation support phase. | x
D | 4.4 | Describe the system's environment structure (ex. development, test, training, production environments) that you recommend for UCDH. Describe any migration tools and change management process for moving items from one environment to another. | x
D | 4.5 | Which environment do you recommend for UCDH to start the development in taking into account all in scope items (configuration for 2 departments, data migration, and multiple interfaces)? Explain why.
D | 5 | Healthcare equipment planning software Experience
D | 5.1 | Describe you experience implementing your software for 2 or more departments within one organization?
D | 5.2 | Describe you experience implementing your software for Facilities department?
D | 5.3 | Describe your experience implementing OS Mobile Application for your software?
D | 5.4 | Describe your software customer web service requests portal for requesting service, planning and implementation request fulfilment status updates and describe your implementation experience?
D | 6 | Interfaces Experience
D | 6.01 | Does your software have a bi-directional integration capability?
D | 6.02 | Does your software have an integrated web component (preferably SOAP, REST, API, Web services)? If yes, which one(s)?
D | 6.03 | Describe your experience implementing your software integration with ServiceNow? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution? Describe.
D | 6.04 | Describe your experience integrating your software with CMMS and asset management systems? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution?- Describe.
D | 6.05 | Describe your experince integrating your software with Infor Lawson Enterprise Resource Planning (ERP) solution? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution? Describe.
D | 6.06 | Describe your experince integrating your software with BIM/Revit platforms? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution? Describe.
D | 6.07 | Describe your experince integrating your software with project management platforms? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution? Describe.
D | 6.08 | Describe your experince integrating your software with scheduling platforms? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution? Describe.
D | 6.09 | Describe your experince implementing/integtating your software with a cybersecurity solution (ex. Medigate)? Indicate bidirectional or unidirectional interface implementation. If you don't have this experience, do you integrate with a similar solution? Describe.
D | 6.1 | Describe your experience integrating your software with Active Directory Federation Services (ADFS) integration.
D | 7 | Data Cleanup Experience
D | 7.1 | Describe your experience with customer's legacy systems data cleanup.
D | 7.2 | Will you provide in-house resources or will you subcontract legacy systems data clean up?
D | 7.3 | Describe legacy data cleanup process and tools recommended for UCDH.
| 7.4 | List the tasks to be performed by you and the tasks to be performed by UCDH for UCDH's AIMs and BEATS legacy systems data cleanup.
D | 8 | Data Migration Experience
D | 8.1 | Describe your experience with Software data migration from client's legacy Software to your Software.
D | 8.2 | What data are you unable to migrate from client's legacy Equipment Planning Software to your Equipment Planning Software? UCDH would like to migrate the following data (refere to the RFP document for estimated record counts): _Foundational data lists (ex. manufacturers, vendors, response codes, employees, etc.) _Active equipment/asset records _Inactive equipment/asset records (last 3 years) _Parts records _All Preventive Maintenance records (including schedules and procedures) _Repair and maintenance history (last 3 years)
D | 8.3 | Describe data migration process and tools recommended for UCDH. |  |  | Does the system support data import and export? If so, please provide data format specifications and describe compatibility with third-party software applications.
D | 9 | Setup
D | 9.1 | Describe how the following will be configured to support the application: 1) Connectivity 2) Load balancing 3) Redundancy 4) Storage.
D | 9.2 | Describe (if applicable) any on-premise software (e.g., desktop clients), firmware or other processes that need to be set up. Include the following: 1) Any products that need to be installed 2) Any additional servers required to run management/configuration/reporting software 3) How system is configured and whether any additional hardware or software is required.
D | 9.3 | The vendor shall provide the data fields dictionary and work with UCDH implementation team to define all data fields dependencies.
| 9.3 | Describe the vendor training offerred and training documentation provided for custom reporting tool.
D | 9.3 | Describe how you will accomadate the configuration for CE and PO&M departments to reflect their distinct business processes (ex. separate instances of the solution for each department.
D | 10 | Analysis
D | 10.1 | Describe, in detail, your company’s process for performing an assessment of an organization's existing business processes and technical infrastructure. List the deliverables/documents produced.
D | 10.2 | Describe any UCDH efforts required to assist with UCDH's infrastructure analysis/validation completion.
D | 10.3 | Provide sample Business Requirements Document (BRD) with functional requirements, non-functional requiremts, etc.
D | 10.4 | Provide sample Current and Future process flows and Gaps Analysis documentation.
D | 11 | Testing
D | 11.1 | Describe testing strategies used on past engagements. Provide details on tools and techniques.
D | 11.2 | Describe your recommendation for test phases including your definition and description of each test phase.
D | 11.3 | Describe your testing acceptance process.
D | 11.4 | Provide sample test plan(s) for all aspects of the implementation.
D | 12 | Training
D | 12.1 | What forms of training are available (e.g. on site, on-line, etc.)?
D | 12.2 | What training methods are available (ex. train the trainer/superusers, all users trained by UCDH superuser, all users trained by vendor, etc.)
D | 12.3 | Specify the training form, method, and length for each user group (ex. end users, operational/back office users, support teams and information technology staff.) Provide training documents samples. | x
D | 12.4 | What initial training will you provide to UCDH Facilities and IT personnel?
| 12.5 | List training materials that you will provide to UCDH (ex. end user training manuals, videos). The training material should be customized to include UCDH specific process flows and system screen shots.
D | 13 | Project Deployment and Stabilization
D | 13.1 | Describe your project deployment process. Provide a sample project deployment plan, including pre go live, cutover, go live, post go live stabilization tasks, and communication plan. | x
D | 14 | Project Close out
D | 14.1 | Describe your project closeout process. Provide sample project closeout documenation. | x
D | 15 | Project Staffing
D | 15.01 | Describe your model for governance and account management.
D | 15.02 | Describe UCDH's ability to review staff being assigned to the project and onboarding process.
D | 15.03 | Describe the process to remove staff from a project upon UCDH's request.
D | 15.04 | Describe the process for managing project coverage for staff turnover, absenteeism, etc.
D | 15.05 | Provide as a separate attachement detailed Staffing Plan for vendor and UCDH resources, including _roles, _# of resources for each role, _# of hours for each role, _responsibilities, _skillsets for every phase of the project for in scope items (Equipment Planning Software, mobile solution, data migration, integration implementation and support).
D | 15.06 | Indicate how much time vendor resources will work on-site (if applicable) and for which steps in the implementation plan.
D | 15.07 | Provide an attachment with the names, title, job description, and experience of your staff who will be assigned to this project with estimated percentage of their work hours devoted to UCDH's project. | x
D | 15.08 | Provide resume of the project manager who will be assigned to UCDH's implementation. Indicate whether the assigned project manager is a vendor employee or subcontractor. (UCDH requires a dedicated Project Manager to manage the implementation, not limited to creating and managing the project plan, coordinating periodic status meetings, and providing status reports through out the project's duration. Project Manager will work closely with UCDH to develop a comprehensive implementation schedules for each phase of the project including vendor and UCDH's tasks. ) | x
D | 15.09 | Describe how you will meet the following requirement: Bidder will provide qualified and sufficient staff and resources for all planned and unknown/emerging activities to facilitate the project completion in the allocated time frame to support project management, administrative, technical, custom development, analysis, training, communication, change management and any other activities.
D | 15.1 | Aknowledge that resources designated by the vendor will remain in place throughout the project except to the extent illness, injury, or employment change makes such continuity impossible, or if replaced at the request of UCDH.
D | 16 | Subcontractors and Offshore services
D | 16.1 | Will any subcontractor/ third party vendors be engaged to supplement your staff? If yes, specify the name, location, and the extent of their involvment in providing the solution/services. Please describe how you monitor the quality of their work.
D | 16.2 | Are any portions of your service performed by workers outside of the United States? If so, please detail.

## E_Support
Tab E: Support
Instructions: The Bidder should respond to each item in the Comments column. The Bidder must attach the requested documetation for item marked with "x" in the Attachement column and provide the attachement title in the Attachment Title column. Comments omitted for any item may render the Bidder's proposal non-responsive.
Tab | Item No. | Item | Attachment | Attachment Title | Comments
E | 1 | Customer Service
E | 1.01 | Do you provide telephone and internet-based support?
E | 1.02 | Identify the office, it's location, time zone which would provide UCDH support.
E | 1.03 | Provide sample Service Level Agreement (SLA). Vendor resources shall be assigned to fix system errors or failures. The Vendor shall respond to client questions to acknowledge receipt of question and provide an estimate as to when a reply can be expected.
E | 1.04 | What are your standard customer support hours? Describe during business hours and after hours contact procedure (if applicable). At a minimum, the vendor shall maintain and make available regular client support staff during normal business hours (8am- 5pm Pacific Standard Time) and provide emergency after hours support.
E | 1.05 | Describe available resources, provide the URL, and access procedures for application support. The vendor shall maintain and make available current/up-to-date application web resources, FAQ (built-in help), publications, references, and training materials, etc.
E | 1.06 | Do you maintain a web list or a forum site where clients can post questions and exchange information and ideas with other clients.
E | 1.07 | Do you make training opportunities, User Conferences, and Educational Courses available to clients. Please describe regularly offered training opportunities.
E | 1.08 | Will there be a designated representative assigned to our organization to handle all issues that come up?
E | 1.09 | How are known software problems resolved? Do you routinely publish a list of known problems?
E | 1.1 | Describe the process to submit and track requests for fixes to issues that arise. Are the issues excalated from Level 1 support to higher levels of Help Desk support?
E | 1.11 | What are the criticality levels that can be assigned to issues? How do you accomodate criticality level based on customer's perspective?
E | 1.12 | Describe the process to escalate issues that fail to be resolved within the expected turnaround time. How is the escalated issues monitored and by whom? Is there an escalation point of contact?
E | 1.13 | Does the vendor support team have the ability to provide remote support when issues arise?
E | 1.14 | What is your software warranty period and what is covered?
E | 1.15 | Aknowledge that all software changes, updates, new features, support for existing and new features, and custom reports development requests should be included at no additional charge.
E | 1.16 | Describe the process for requesting new custom reports or updates to the existing custom reports.
E | 1.17 | Describe enhancements/customization requests submission process. How are requests evaluated and customers notied about requests' acceptance or rejection?
E | 2 | Upgrades and Software Releases
E | 2.1 | Describe your policy for supporting prior releases.
E | 2.2 | Outline the recommended UCDH staffing requirements and skills needed for ongoing support of the system. Please indicate the number and types of resources required and amount of time they will need to spend on routine support, optimization, upgrades, etc.
E | 2.3 | How and when do you notify the customers about your product development and system enhancements roadmap?
E | 2.4 | How often are major releases produced and delivered?
E | 2.5 | Describe how new enhancements are installed including frequency and time required to accomplish?
E | 2.6 | Describe how often and for how long the system is not available due to scheduled and un-scheduled maintenance.
E | 2.7 | Can maintenance be scheduled for after business hours (if downtime is required)?
E | 2.8 | If your system is configurable by the customer, how do software upgrades impact these configurations? Does configuration need to be reapplied with new software releases?
E | 2.9 | Are upgrades cumulative (i.e. should every upgrade be applied or customer may select which upgrades to apply)?
E | 3 | Performance
E | 3.1 | Explain how the system performance is guaranteed. System performance is paramount to customer satisfaction.
E | 3.2 | How does your organization size your system initially and how do you protect us from performance impact as we grow?
E | 3.3 | How is data saved and is it backed up? Describe database back-up and recovery procedures including downtime required, if any.
E | 3.4 | Please explain how 99.99% uptime is guaranteed and maintained on an annual basis.