## Exhibit X Cover Page
RFP 10152025 - RTLS Preventive Maintenance Support Services
Exhibit B - Site Specific Information
Background
Certain locations within UC Davis Health require heightened compliance and monitoring standards, particularly where NIST-certified RTLS tags are used for environmental monitoring (e.g., temperature-sensitive storage, lab refrigerators, and pharmacy cold chain areas). These areas are subject to strict regulatory and audit requirements. · All tags used in these environments must maintain active NIST certification. · Battery replacement schedules must be closely tracked to avoid lapses in performance or calibration. · Vendors are expected to coordinate with UC Davis Health staff to ensure recalibration of expired tags and upload of updated NIST certifications into the RTLS software system. · Maintenance in these areas may require scheduled access, escort, or adherence to additional site-specific protocols. Failure to maintain compliance in these critical zones may result in regulatory risk and operational disruption; vendors must prioritize these locations accordingly

## UCDH Critical Zones
UCDH Critical Zones
Location Name | Address | Additional Site-Specific Details
UCDH Main Hospital | 2315 Stockton Blvd Sacramento, CA 95817 | Davis Tower University Tower East Tower SESP
UCDH Ambulatory Care Center | 4860 Y Street Sacramento, CA 95817
UCDH North Addition Office Building | 2335 Stockton Blvd Sacramento, CA 95817
UCDH Medical Records Building | 4010 V Street Sacramento, CA 95817
UCDH Cancer Center Expansion | 2279 45th Street Sacramento, CA 95817
UCDH Cancer Center 2 | 2279 45th Street Sacramento, CA 95817
UCDH Administration Support Building | 2450 28th Street Sacramento, CA 95817
UCDH Telehealth | 4610 X Street Sacramento, CA 95817
UCDH Betty Irene Moore Hall | 2570 45th Street Sacramento, CA 95817
UCDH Davis 2 | 2420 Stockton Blvd Sacramento, CA 95817
UCDH Sherman Building | 2300 Stockton Blvd Sacramento, CA 95817
UCDH Glassrock Building | 2521 Stockton Blvd Sacramento, CA 95817
UCDH STEM Building | 2921 Stockton Blvd Sacramento, CA 95817
UCDH Children's Behavioral Health | 2248 Stockton Blvd Sacramento, CA 95817 | Wong 2
Parking Garage 3 | 4521 X Street Sacramento, CA 95817
Eye Center | 4860 Y Street Sacramento, CA 95817
Sherman Building | 2300 Stockton Blvd Sacramento, CA 95817
48X | 4801 X Street Sacramento, CA 95817

## Additional UCDH Zones
Additional Required UCDH Zones
Location Name | Address | Additional Site-Specific Details
Alhambra Cannery | 1651 Alhambra Blvd Sacramento, CA 95816
C Street Cannery | 3301 C Street Sacramento, CA 95816
Midtown PCN | 3160 Folsom Blvd Sacramento, CA 95816
Folsom | 3195 Folsom Blvd Sacramento, CA 95816
California Medical Building | 2825 J Street Sacramento, CA 95817
Jackson Buildings | 3671 Business Drive Sacramento, CA 95820 | All 1-6 Buildings
Elk Grove PCN | 8110 Laguna Blvd Elk Grove, CA 95758
Elk Grove PCN | 9930 Big Horn Blvd Elk Grove, CA 95758
Rancho Cordova PCN | 3201 Data Drive Rancho Cordova, CA 95670
Health Administration Services | 10850 White Rock Road Rancho Cordova, CA 95670
Patient Contact Center | 10888 White Rock Road Rancho Cordova, CA 95670
Mather Armstrong Building | 10545 Armstrong Ave Mather, CA 95655
Folsom MOB | 14264 Innovation Drive Folsom, CA 95630
Folsom PCN | 271 Turn Pike Drive Folsom, CA 95630
Roseville PCN | 1620 E. Roseville Parkway Roseville, CA 95661
Placer Center for Health | 550 W. Covell Blvd. Davis, CA 95616
Davis PCN | 2660 W. Covell Blvd Davis, CA 95616
Davis PCN | 2440 W. Covell Blvd Davis, CA 95616
Auburn PCN | 3200 Bell Road Auburn, CA 95602
Point West PCN | 1535 River Park Drive Sacramento, CA 95655