## Instructions for Bidders
Request for Proposal: RFP 10152025 - RTLS Maintenance Support Services
Ref: RFP 10152025 - RTLS Maintenance Suppoort Services
Exhibit B - Mandatory and Program Requirements Bidder Response
Instructions to Bidders
1 | Bidders must complete and submit each of the tabs referenced below.
2 | This form must be returned to UC Davis Health (UCDH) in native .xlsx (Excel) format.
3 | The format of this template must not be altered or changed in any way.
4 | Bidders are responsible for ensuring that each and every field is completed with a response.
5 | UCDH reserves the right to reject incomplete responses.
6 | Bidders should be brief and succinct in their responses to each of the requirements.
This Exhibit B, once completed, should be returned to UC Davis Health in native .xlsx format

## Part A_General Vendor Qualif
GENERAL VENDOR INFORMATION
1.1 | Company Information
| Question # | Question | Bidder Answer
| 1.1.a | Company Name
| 1.1.b | Company Address
| 1.1.c | Company Telephone Number
1.2 | Company Contact Information
| Question # | Question | Bidder Answer
| 1.2.a | Name
| 1.2.b | Email Address
| 1.2.c | Telephone Number
1.3 | Company Ownership
| Question # | Question | Bidder Answer
| 1.3.a | Describe your company’s ownership (Proprietorship, LLC, LLP, S-Corp, C-Corp, Federal, State, County, etc.), tax exemption status (Non-profit/exempt or For-profit), office location(s) and service areas, and identify key executives and contact personnel that support your solution.
1.4 | Provide the number of years in business
1.5 | Company Background and History
| Question # | Question | Bidder Answer
| 1.5.a | Provide a brief overview of your company identifying key strengths, mission, vision and distinctives as a provider of vendor management services.
| 1.5.b | Provide a brief summary of your company’s milestones and experience keying on strengths as they relate to providing supplemental staff and managed services to acute care facilities.
1.6 | Service Lines
| Question # | Question | Bidder Answer
| 1.6.a | Provide a brief description of your core and ancillary service lines. Name and provide a brief description of any relationships to affiliated service providers. Those that are partnered within your program as well as any other affiliations.
| 1.6.b | What percentage of your company's revenue is derived from professional services? staffing? Other services?
1.7 | Accreditation/Quality Assurance
| Question # | Question | Bidder Answer
| 1.7.a | As applicable, please provide a description of your quality standards, best practice policies and processes in place to ensure that consistent methods and processes are employed throughout your staffing model. Provide a copy of any accreditations or certifications of such standards.
1.8 | Financial Strength
| Question # | Question | Bidder Answer
| 1.8.a | Provide current annual report and most recent audited financial statement.
| 1.8.b | Identify by name and University position any University officer, faculty member or other employee who holds a position of director, officer, partner, trustee, manager or employee in the Bidder’s company, as well as the name of any near relatives who are employed by the University.
1.9 | Mergers, Acquisitions, and/or Divestiture
| Question # | Question | Bidder Answer
| 1.9.a | Is your company being considered for acquisition, mergers, divestiture or other relationships that may impact your ability to provide the requested services?
| 1.9.b | If so, please explain
1.10 | Insurance
| Question # | Question | Bidder Answer
| 1.10.a | As identified in the General Conditions, Section IX, please confirm you ability to meet these requirements and detail your process to ensure compliance for all affiliated service partners. Please provide a sample certificate of insurance or statement of coverage identifying the insurance carrier.
1.11 | UC Terms
| Question # | Question | Bidder Answer
| 1.11.a | Do you accept UC Terms and Conditions of Purchase - (Appendix A)
| 1.11b | Do you accept Appendix – Data Security and Privacy – (Appendix C)

## Part B_Mandatory Requirements
Mandatory Minimum Qualifications |  | Yes/No
1 | We require onsite NIST calibration both 1 point and 3 point. Are you able to provide 1 point and 3 point NIST Tag callibration on site?
2 | Will you provide batteries and dispose of old batteries as part of the proposal?
3 | Vendor is required to be a Securitas MobileView Authorized Service Provider
4 | Is the vendor able to provide NIST recalibartion service on site at UCDH.
5 | Must be able to accomodate after hours support as needed or required by our customer for NIST Tag recallibreation and battery exchanges .
6 | The annual maintenance of the RFID system is required to include all associated equipment. This includes cradles, batteries for tags, software updates, and NIST certifications for both 1-point and 3-point devices. All certification documentation must be uploaded and maintained within the software platform.
*Please note: These are mandatory requirements. Any bidder unable to meet thse minimum qualifications will be eliminated.

## Part B_Program Requirements
PROGRAM QUESTIONS
2.1 | Temperature Tag Management & NIST Tag Recalibration
| Question # | Question | Bidder Answer
| 2.1.a | Do you provide calibration certificates for each tag, and how are they provided to us? Describe your process for ensureing expiration dates are updated into our system. Provide an example
| 2.2.b | Describe your process for recalibrating temperature tags. Is this performed on-site, by mail-in service, or tag replacement?
| 2.1.c | How do you track and notify users of upcoming recalibration deadlines?
| 2.1.d | What is your average turnaround time for tag recalibration?
| 2.1.e | Do you offer tag loaner or replacement programs during recalibration periods? Please describe
| 2.1.f | Can recalibration be performed without disrupting real-time monitoring or asset workflows? Please describe the process
| 2.1.g | Can alerts or reports be customized to ensure regulatory compliance with pharmacy or lab requirements? please describe
| 2.1.h | Please describe how your recalibration process supports regulatory compliance (e.g., The Joint Commission, FDA, CDC)?
| 2.1.i | What level of support is provided during the recalibration process?
| 2.1.j | What guarantees do you provide for calibration accuracy and validity?
| 2.1.k | Describe your approach to NIST calibration management, and how you ensure all devices remain compliant.
| 2.1.l | What steps are taken when a sensor is found to be out-of-tolerance?
| 2.1.m | How does your team optimize MobileView as part of the calibration service?
| 2.1.n | How does your team coordinate new environmental tag installations?
2.2 | Asset Tag Management
| Question # | Question | Bidder Answer
| 2.2.a | How do you proactively manage battery life for over 15,000 asset tags?
| 2.2.b | Do you provide support for bulk battery replacement campaigns?
| 2.2.c | How is MobileView updated during asset maintenance?
| 2.2.d | What kind of reporting do you provide?
| 2.2.e | Describe your recommended process for battery replacement or tag servicing.
| 2.2.f | Are your battery management practices compliant with hospital safety and disposal regulations?
2.3 | System Administration
| Question # | Question | Bidder Answer
| 2.3.a | What are the key responsibilities of your Remote System Administrator?
| 2.3.b | How do you support analytics under the TRUST framework?
| 2.3.c | Describe your escalation protocol for unresolved issues.
| 2.3.d | Describe your experience managing RTLS systems remotely, especially in healthcare environments.
| 2.3.e | What system administration tasks do you perform remotely? (e.g., tag provisioning, firmware updates, troubleshooting)
| 2.3.f | Do you provide 24/7 monitoring and support or business-hours only?
| 2.3.g | Do you maintain detailed logs of all remote administrative activities? Please provide details
| 2.3.h | Do you provide training or documentation to in-house staff on system administration or troubleshooting?
2.4 | Onsite Support
| Question # | Question | Bidder Answer
| 2.4.a | Describe the process and plan for offering onsite and remote support to the UC Davis Health facilities in the day to day management of the procurement, time collection, invoicing and quality management process including the number and types of dedicated provided staff to assist UC Davis Health in the management of IT contingent labor.
| 2.4.b | What distinguishes your team’s professionalism in hospital settings?
| 2.4.c | How do you minimize disruption to clinical operations during service?
| 2.4.d | How do you coordinate with departments and ensure access?
| 2.4.e | What is your turnaround time for documentation uploads?
2.5 | Support
| Question # | Question | Bidder Answer
| 2.5.a | Describe your first-level support capabilities, including business hours, escalation paths, and whether healthcare-specific support agents are available to UC Davis Health.
| 2.5.b | Provide maintenance and service alternatives your firm offers for RTLS systems deployed across UC Davis Health facilities. This includes asset tracking, environmental monitoring, and temperature management tags and infrastructure. Please clearly outline service tiers and any optional support enhancements.
| 2.5.c | Indicate whether services will be performed by your Company’s internal technicians or outsourced to third parties. If outsourced, specify the partner(s), their certifications, and geographic coverage.
| 2.5.d | Describe your first-level support capabilities, including business hours, escalation paths, and whether healthcare-specific support agents are available to UC Davis Health.
| 2.5.e | Indicate whether your system supports remote diagnostics of RTLS tags, readers, or infrastructure. Specify the method of access (e.g., secure web portal, IP-based remote session, or VPN) and the types of diagnostics available (battery status, signal loss, system uptime, etc.).
| 2.5.f | List on-site support response times, including standard, expedited, and emergency services. Indicate whether technicians are locally available in Sacramento or dispatched from other regions.
| 2.5.g | Describe how your firm integrates manufacturer warranties for tags, readers, cradles, and associated infrastructure into your service offerings. Outline how out-of-warranty items are handled and the options for coverage extensions or replacements.
| 2.5.h | Clearly define how your organization distinguishes between the scenarios below and describe how these are handled in your service policy: a. Customer misuse or abuse b. Normal wear and tear c. Acts of God or environmental damage
| 2.5.i | Explain how your support teams collaborate with other vendors and/or UCDH departments when issues involving networking, power, or software dependencies outside of your system.
| 2.5.j | Specify your parts inventory practices for RTLS hardware (tags, cradles, sensors, batteries, etc.). Include information about regional warehousing, shipping times, and availability of discontinued or legacy items.
2.6 | Periodic Business Reviews & Metrics
| Question # | Question | Bidder Answer
| 2.6.a | Identify and describe the process for providing periodic business reviews to UC Davis Health?.
| 2.6.b | What metrics are covered in Quarterly Business Reviews? Please provide examples
| 2.6.c | How do you ensure service continuity across a multi-year agreement?

## Part C_References
REFERENCES
Provide three (3) references from current clients in the healthcare provider market of similar size and complexity of UC Davis Health where your company provides the same and/or similar services (in each of the five ares of expertise) as outlined in this RFP.
5.1 | Client/Facility References
| 5.1.a | Company Name
Address
Contact Name
Contact Title
Contact Telephone Number
Contact Email Address
Date(s) of contract
Description of Services
| 5.1.b | Company Name
Address
Contact Name
Contact Title
Contact Telephone Number
Contact Email Address
Date(s) of contract
Description of Services
| 5.1.c | Company Name
Address
Contact Name
Contact Title
Contact Telephone Number
Contact Email Address
Date(s) of contract
Description of Services